# Federal Aviation Administration

# Central Region

# CHECKLIST FOR

# MASTER PLAN and AIRPORT LAYOUT PLAN (ALP)

(REVISED May, 2011*)

This document is available at http://www.faa.gov/airports/central/planning_capacity/

Users requiring assistance or reasonable accommodation may contact the FAA Central Region at 816-329-2600

Location:

Airport:

# Prepared By:

# Prepared Date:

# Reviewed By:

# Reviewed Date:

APPLICABLE ADVISORY CIRCULARS:

Airport Master Plan, AC 150/5070-6

## Airport Design, AC 150/5300-13, Changes 1 through 16

CRITICAL DESIGN AIRCRAFT OR FAMILY OF AIRCRAFT:

| Existing: Make: |  | Model: |  | Annual Itinerant Operations: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ultimate: Make: |  | Model: |  | Annual Itinerant Operations: |  | Forecast Year: |  |

Airport Reference Code (ARC):      -

| Desired Approach Minimums: |
| --- |
| Rw end |  | Minimum |  | / | Rw end |  | Minimum |  |
| Rw end |  | Minimum |  | / | Rw end |  | Minimum |  |
| Rw end |  | Minimum |  | / | Rw end |  | Minimum |  |
| Rw end |  | Minimum |  | / | Rw end |  | Minimum |  |

|  | Included |  |
| --- | --- | --- |
| AIRPORT LAYOUT PLAN COMPONENTS | Yes | No | Remarks |
| Report(Narrative or Master Plan) |  |  |  |
| Airport Layout Drawing |  |  |  |
| Airport Airspace Drawing |  |  |  |
| Inner Portion of the Approach Surface Drawing |  |  |  |
| Terminal Area Drawing |  |  |  |
| Land Use Drawing |  |  |  |
| Airport Property Map |  |  |  |
| Airport Departure Surfaces |  |  |  |

### I. REPORT

### DATE

Report type:

| Master Plan |  |
| --- | --- |
| ALP Narrative Report |  |

|  | Included |  |
| --- | --- | --- |
|  | Yes | No | Remarks |
| FORECAST AVIATION DEMAND |  |  |  |
| Current, 5 yrs, 10 yrs, 20 yrs |  |  |  |
| Local Operations |  |  |  |
| Annual Itinerant Operations |  |  |  |
| All Aircraft |  |  |  |
| Current Design Aircraft or Family of Aircraft |  |  |  |
| Ultimate Design Aircraft or Family of Aircraft |  |  |  |
| Total Annual Operations |  |  |  |
| Based Aircraft |  |  |  |
| Annual Instrument Approaches (AIA) |  |  |  |
| Enplaned Passengers (Commercial Service Locations Only) |  |  |  |
| Design Aircraft (Current) |  |  |  |
| Design Aircraft (Ultimate ) |  |  |  |
| STAGE DEVELOPMENT |  |  |  |
| Drawings, Schedules, Project Costs |  |  |  |
| COORDINATION |  |  |  |
| Highways, Planning Agencies, etc. |  |  |  |
| ADDITIONAL COMMENTS: |  |  |  |

### II.  AIRPORT LAYOUT DRAWING

DATE

"An airport layout plan (ALP) is a graphic presentation to scale of existing and ultimate airport facilities, their location on the airport and the pertinent clearance and dimensional information required to show relationships with applicable standards."

|  | Included |  |
| --- | --- | --- |
|  | Yes | No | Remarks |
| SHEET SIZE |  |  |  |
| 22" X 34" (ANSI D) minimum |  |  |  |
| SCALE |  |  |  |
| 1" = 200' to 1" = 600' |  |  |  |
| NORTH POINT & DATUM REFERENCES |  |  |  |
| True & Magnetic Declination & Epoch Year |  |  |  |
| NAD 83 (horizontal coordinates) |  |  |  |
| NAVD 88 (MSL elevations) |  |  |  |
| WIND ROSE |  |  |  |
| Source & Time Period (latest 10-year period, using 36-points) |  |  |  |
| Individual & Combined Coverage: |  |  |  |
| 10.5 Knots |  |  |  |
| 13 Knots |  |  |  |
| 16 Knots |  |  |  |
| 20 Knots |  |  |  |
| AIRPORT REFERENCE POINT (ARP) |  |  |  |
| Existing and Ultimate with Airport Elevation to the nearest 0.1 of a foot and Latitudes and Longitudes to nearest second |  |  |  |
| TOPOGRAPHIC INFORMATION |  |  |  |
| Contours 2' to 10' |  |  |  |
| ELEVATIONS |  |  |  |
| Runway Ends (nearest 0.1 ft, exist & ult) |  |  |  |
| Displaced thresholds (if any) |  |  |  |
| Runway Intersections |  |  |  |
| Runway High and Low Points |  |  |  |
| Roadways & Railroads at points where they intersect Approach Surfaces and runway centerline extended |  |  |  |
| Structures on Airport (if no Terminal Area Drawing) |  |  |  |

II. ALP (CONT'D)

|  | Included |  |
| --- | --- | --- |
|  | Yes | No | Remarks |
| LINES |  |  |  |
| ILS/MLS Critical Areas (GS & LOC) |  |  |  |
| Building Restriction Lines (BRL) |  |  |  |
| Building Height for BRL |  |  |  |
| Property Lines (exist & ult) |  |  |  |
| Section Corners |  |  |  |
| Survey Monuments (PACS/SACS) |  |  |  |
| Runway Visibility Zones |  |  |  |
| RUNWAY DETAILS |  |  |  |
| Length and Width (exist & ult) |  |  |  |
| End Numbers |  |  |  |
| True Bearing (nearest .01 degree) |  |  |  |
| Markings |  |  |  |
| End Coordinates (nearest .01 sec) |  |  |  |
| Lighting Symbols(threshold only, exist & ult) |  |  |  |
| Clearways & Stopways/Overruns |  |  |  |
| Safety Areas (include dimensions) |  |  |  |
| TAXIWAY DETAILS |  |  |  |
| Width |  |  |  |
| Clearance to Runway |  |  |  |
| Clearance to Aircraft Parking |  |  |  |
| Clearance to Objects |  |  |  |
| Hold Position signage/markings |  |  |  |
| APRON |  |  |  |
| Location |  |  |  |
| Aircraft Parking |  |  |  |
| RUNWAY PROTECTION ZONES |  |  |  |
| Dimensions (exist & ult) |  |  |  |
| Type of Ownership (Fee or Easement) |  |  |  |
| APPROACHES |  |  |  |
| Approach Surface Slope & Type (exist & ult) |  |  |  |
| TITLE AND REVISION BLOCK |  |  |  |
| FAA Disclaimer |  |  |  |
| APPROVAL BLOCK (SPONSOR ONLY) |  |  |  |
| AIRPORT DATA TABLE |  |  |  |
| Airport Elevation (nearest 0.1 ft) |  |  |  |
| ARP Coordinates (nearest second) |  |  |  |
| Airport Electronic Aids (NDB/VOR/Beacon) |  |  |  |
| Mean Max Temp. (Hottest Month) |  |  |  |
| Airport Reference Code (ARC) |  |  |  |
| Critical Design Aircraft (existing & ult) |  |  |  |

II. ALP (CONT'D)

|  | Included |  |
| --- | --- | --- |
|  | Yes | No | Remarks |
| BUILDING TABLE (See ALP Guidance) |  |  |  |
| LEGEND TABLE |  |  |  |
| RUNWAY DATA TABLE (existing & ultimate) |  |  |  |
| Approach Category and Design Group |  |  |  |
| Runway (length/width) |  |  |  |
| Percent effective gradient (max) |  |  |  |
| Percent wind coverage |  |  |  |
| Runway Lighting (LIRL, MIRL, HIRL) |  |  |  |
| Runway Marking (B, NP, or P) |  |  |  |
| Pavement Material |  |  |  |
| Pavement Design Strength (exist & ult critical aircraft) (#lbs – S, D, DT, DDT) |  |  |  |
| Runway Safety Area (length/width) |  |  |  |
| Object Free Area (length/width) |  |  |  |
| Obstacle Free Zone (length/width) |  |  |  |
| Taxiway Width |  |  |  |
| Taxiway Lighting |  |  |  |
| For each runway end (exist & ult) |  |  |  |
| Approach Surface Slope |  |  |  |
| Electronic Aids (Localizer, Glide Slope, etc) |  |  |  |
| Visual Aids (REIL, VGSI, etc) |  |  |  |
| Approach Visibility Minimums (V, 1 mile, 3/4 mile, 1/2 mile, CAT II, or CAT III) |  |  |  |
| Part 77 Approach Use Type |  |  |  |
| Aeronautical Survey Type Required for Approach |  |  |  |
| Touchdown Zone Elevation (TDZE) (highest runway elevation within first 3,000 ft) |  |  |  |
| Takeoff Run Available (TORA) |  |  |  |
| Takeoff Distance Available (TODA) |  |  |  |
| Accelerate Stop Distance Available |  |  |  |
| Landing Distance Available (LDA) |  |  |  |
| MODIFICATION TO AIRPORT DESIGN STANDARDS TABLE |  |  |  |
| Approval Date, Airspace Case No., Standard Modified, Description |  |  |  |
| If No Standard Modified, State “None Required” |  |  |  |
| OBSTACLE FREE ZONE (OFZ) OBJECT PENETRATIONS TABLE |  |  |  |
| If none, State “No OFZ Penetrations” |  |  |  |
| THRESHOLD SITING SURFACE (TSS) OBJECT PENETRATIONS TABLE |  |  |  |
| If None, State “No TSS penetrations” |  |  |  |
| ADDITIONAL COMMENTS |  |  |  |

### III.  AIRPORT AIRSPACE DRAWING

|  | Included |  |
| --- | --- | --- |
|  | Yes | No | Remarks |
| PLAN VIEW |  |  |  |
| USGS 7 1/2 Minute Quad. |  |  |  |
| Runway Numbers (ultimate) |  |  |  |
| Part 77 Imaginary Surfaces |  |  |  |
| Elevation Contours (even 50' intervals on sloping surfaces) |  |  |  |
| Scale (1" = 2000'- 3000') |  |  |  |
| Objects beyond RPZ |  |  |  |
| APPROACH PROFILES (Existing and Ultimate) |  |  |  |
| Composite ground profile along extended Runway Centerline (Scale 1" = 1000' H, 1" = 100' V for Visual & Non-Precision Runways, 1" = 2000' H, 1'= 200' V for ILS Runways) |  |  |  |
| Significant Objects |  |  |  |
| Top Elevation of Significant Objects |  |  |  |
| Part 77 Approach Slope Profile |  |  |  |
| OBSTRUCTION TABLE (Beyond Inner Approach Surface) |  |  |  |
| Object Identification Number |  |  |  |
| Object Elevation |  |  |  |
| Description of Object |  |  |  |
| Amount of Penetration |  |  |  |
| Disposition of Object |  |  |  |
| ADDITIONAL COMMENTS: |  |  |  |

### IV. INNER PORTION OF THE APPROACH SURFACE DRAWING

|  | Included |  |
| --- | --- | --- |
|  | Yes | No | Remarks |
| PLAN VIEW (Existing & Ultimate) (to 100’ above runway elevation for the approach slope) |  |  |  |
| Scale (1" = 200') |  |  |  |
| Property Line |  |  |  |
| Significant Objects Identified by Number |  |  |  |
| Approach Surface |  |  |  |
| Clearance over Roads, Railroads at Centerline & Edge of Approach Surface (Include Road/Railroad Elev.) |  |  |  |
| Runway End Number and Elevation |  |  |  |
| Ground Contours (light lines) |  |  |  |
| Runway Safety Area |  |  |  |
| Object Free Area |  |  |  |
| Runway Protection Zone (RPZ) |  |  |  |
| Precision Object Free Zone (POFZ) |  |  |  |

IV. INNER PORTION OF THE APPROACH SURFACE DRAWING (CONT’D)

|  | Included |  |
| --- | --- | --- |
|  | Yes | No | Remarks |
| PROFILE VIEW |  |  |  |
| Scale (1" = 200'H, 1" = 20'V) |  |  |  |
| Terrain Along Extended Centerline of Runway (out to 100’ above runway elevation for approach slope) |  |  |  |
| Significant Objects |  |  |  |
| Cross-Section of Roads & Railroads |  |  |  |
| Objects Identified by Number (same as used on plan view) |  |  |  |
| RUNWAY CENTERLINE PROFILE |  |  |  |
| Scale (vertical sufficient to show line of sight req.) |  |  |  |
| Elevations (stations and elevation at runway ends and at all points of grade change) |  |  |  |
| OBSTRUCTION TABLE |  |  |  |
| Separate Table for each Approach Surface |  |  |  |
| Object Identification Number |  |  |  |
| Object Elevation |  |  |  |
| Description of Object |  |  |  |
| Amount of Penetrations |  |  |  |
| Disposition of Obstruction |  |  |  |
| ADDITIONAL COMMENTS |  |  |  |

### V. TERMINAL AREA DRAWING

|  | Included |  |
| --- | --- | --- |
|  | Yes | No | Remarks |
| Scale ( 1" = 50' to 1" = 100') |  |  |  |
| Property Line |  |  |  |
| Building Restriction Line |  |  |  |
| Apron |  |  |  |
| Aircraft Parking |  |  |  |
| T-Hangars |  |  |  |
| Top Elevation of Structures |  |  |  |
| Legend |  |  |  |
| Building Identification Table |  |  |  |
| Auto Parking Areas |  |  |  |
| Entrance Road |  |  |  |
| Clearance Dimensions between Runway, Taxiway, and Taxilane centerlines and hangars, buildings, aircraft parking, and other objects |  |  |  |
| ADDITIONAL COMMENTS |  |  |  |

##### VI.  LAND USE DRAWING

|  | Included |  |
| --- | --- | --- |
|  | Yes | No | Remarks |
| Legend |  |  |  |
| On-Airport Land Use (exist & ult) |  |  |  |
| Off-Airport Land Use (exist & ult) to at least the 65 DNL Contour |  |  |  |
| Public facilities |  |  |  |
| Crop Restriction Lines |  |  |  |
| Airport Property Lines |  |  |  |
| Zoning Restrictions |  |  |  |
| ADDITIONAL COMMENTS |  |  |  |

VII. AIRPORT PROPERTY MAP

|  | Included |  |
| --- | --- | --- |
|  | Yes | No | Remarks |
| LEGEND |  |  |  |
| DRAWING DETAILS |  |  |  |
| Airport Features (exist & ult) |  |  |  |
| Property Line (fee) |  |  |  |
| Property Interest Areas (easement) |  |  |  |
| Tract Boundary Line with Identification number |  |  |  |
| DATA TABLE |  |  |  |
| Tract Identification Number |  |  |  |
| Date of Acquisition |  |  |  |
| Type of Acquisition Indicated |  |  |  |
| Federal Aid Project Number |  |  |  |
| Property Interest (fee or easement) |  |  |  |
| Acreage |  |  |  |
| ADDITIONAL COMMENTS |  |  |  |

VIII. AIRPORT DEPARTURE SURFACES

40:1 for Instrument Procedure Runways

62.5:1 for Commercial Service Runways

|  | Included |  |
| --- | --- | --- |
|  | Yes | No | Remarks |
| PLAN VIEW (Existing & Ultimate) (out to 10200’ beyond Runway threshold for 40:1) (out to 50000’ beyond Runway threshold for 62.5:1) |  |  |  |
| Scale (1" = 1000' for 40:1/ 1”=2000’ for 62.5:1) |  |  |  |
| Property Line |  |  |  |
| Objects Identified by Number |  |  |  |
| Runway End Number and Elevation |  |  |  |
| Ground Contours (light lines) |  |  |  |
| PROFILE VIEW |  |  |  |
| Scale (1" = 100'V for 40:1, 1”=100’ for 62.5:1) |  |  |  |
| Terrain Along Extended Centerline of Runway |  |  |  |
| Significant Objects |  |  |  |
| Objects Identified by Number (same as used on plan view) |  |  |  |
| Cross-Section of Roads & Railroads |  |  |  |
| OBSTRUCTION TABLE |  |  |  |
| Separate Table for each Departure Surface |  |  |  |
| Object Identification Number |  |  |  |
| Description of Object |  |  |  |
| Object Elevation |  |  |  |
| Amount of Penetrations |  |  |  |
| Disposition of Object |  |  |  |
| ADDITIONAL COMMENTS |  |  |  |

# Comments

Enter City, State near which airport is located

Enter Airport name

Name of firm that prepared the documents

Latest revision date shown on the document set

The most demanding aircraft identified in the forecast that will use the airport.  Federally funded projects require that critical design airplanes have at least 500 or more annual itinerant operations at the airport (landings and takeoffs are considered as separate operations) for an individual airplane or a family grouping of airplanes. See AC 150/5325-4, 102.a.(8) and AC 150/5070-6, 702.a.

Itinerant Operations – Operations by aircraft that leaves the local airspace.  Typically considered flights over 20 miles from the airfield.  See AC 150/5070-6, Appendix A and AC 150/5325-4, 102.a.9.

Itinerant Operations – Operations by aircraft that leaves the local airspace.  Typically considered flights over 20 miles from the airfield.  See AC 150/5070-6, Appendix A and AC 150/5325-4, 102.a.9.

List which year of the forecast the aircraft will have enough operations to be the Critical Design Aircraft (1-5 years, 6 to 10 years, 11 or beyond, etc.)

The airport reference code has two components relating to the airport design aircraft.  The first component, depicted by a letter, is the aircraft approach category and relates to aircraft approach speed (operational characteristic).  The second component, depicted by a Roman numeral, is the airplane design group and relates to airplane wingspan or tailheight (physical characteristics), whichever is the most restrictive.  Generally, runways standards are related to aircraft approach speed, airplane wingspan, and designated or planned approach visibility minimums. Taxiway and taxilane standards are related to airplane design group.  See AC 150/5300-13, Chapter 1.4.a.

Enter Runway Approach End, e.g. 01, 17, 32, etc.

Enter desired Ultimate Visibility Minimum for the runway approach end.  See AC 150/5300-13, Appendix 16.

Enter Runway Approach End, e.g. 01, 17, 32, etc.

Enter desired Ultimate Visibility Minimum for the runway approach end.  See AC 150/5300-13, Appendix 16.

Enter Runway Approach End, e.g. 01, 17, 32, etc.

Enter desired Ultimate Visibility Minimum for the runway approach end.  See AC 150/5300-13, Appendix 16.

Enter Runway Approach End, e.g. 01, 17, 32, etc.

Enter desired Ultimate Visibility Minimum for the runway approach end.  See AC 150/5300-13, Appendix 16.

Enter Runway Approach End, e.g. 01, 17, 32, etc.

Enter desired Ultimate Visibility Minimum for the runway approach end.  See AC 150/5300-13, Appendix 16.

Enter Runway Approach End, e.g. 01, 17, 32, etc.

Enter desired Ultimate Visibility Minimum for the runway approach end.  See AC 150/5300-13, Appendix 16.

Enter Runway Approach End, e.g. 01, 17, 32, etc.

Enter desired Ultimate Visibility Minimum for the runway approach end.  See AC 150/5300-13, Appendix 16.

Enter Runway Approach End, e.g. 01, 17, 32, etc.

Enter desired Ultimate Visibility Minimum for the runway approach end.  See AC 150/5300-13, Appendix 16.

REQUIRED - A drawing depicting the existing and ultimate airport facilities.  The drawing should include required facility identifications, description labels, imaginary surfaces, Runway Protection Zones, Runway Safety Areas and basic airport and runway data tables.  See AC 150/5070-6, Chapter 10 for drawing requirements; AC 150/5300-13 for design requirements of features shown.

REQUIRED - 14 CFR Part 77, Objects Affecting Navigable Airspace, defines this as a drawing depicting obstacle identification surfaces for the full extent of all airport development.  It should also depict airspace obstructions for the portions of the surfaces excluded from the Inner Portion of the Approach Surface Drawing.  See AC 150/5070-6, Chapter 10 for drawing requirements.

REQUIRED - Drawings containing the plan and profile view of the inner portion of the approach surface to the runway and a tabular listing of all surface penetrations.  The drawing will depict the obstacle identification approach surfaces contained in 14 CFR Part 77, Objects Affecting Navigable Airspace.  The drawing may also depict other approach surfaces, including the threshold-siting surface, those surfaces associated with United States Standards for Instrument Procedures (TERPS), or those required by the local FAA office or state agency.  The extent of the approach surface and the number of airspace obstructions shown may restrict each sheet to only one runway end or approach.  See AC 150/5070-6, Chapter 10 for drawing requirements; AC 150/5300-13 for design requirements of features shown.

This plan consists of one or more drawings that present a large-scale depiction of areas with significant terminal facility development.  Such a drawing is typically an enlargement of a portion of the ALP. At a commercial service airport, the drawing would include the passenger terminal area, but might also include general aviation facilities and cargo facilities.  See AC 150/5070-6, Chapter 10 for drawing requirements; AC 150/5300-13 for design requirements of features shown.

REQUIRED - A drawing depicting the land uses within the airport property boundary and land uses and zoning in the area around the airport.  At a minimum, the drawing must contain land within the 65 DNL noise contour.  See AC 150/5070-6, Chapter 10 for drawing requirements.

REQUIRED - A drawing depicting the airport property boundary, the various tracts of land that were acquired to develop the airport, and the method of acquisition.  This drawing is only required for those airports that have acquired land with Federal funds or through an FAA-administered land transfer program; however, it may be useful to all airport sponsors.  If any obligations were incurred as a result of obtaining property, or an interest therein, they should be noted.  Obligations that stem from Federal grant or an FAA-administered land transfer program, such as surplus property programs, should also be noted.  The drawing should also depict easements beyond the airport boundary.  See AC 150/5070-6, Chapter 10 for drawing requirements; see AC 150/5100-17, Land Acquisition and Relocation Assistance for Airport Improvement Program Assisted Projects, for additional requirements if this drawing will also be used as an Exhibit A drawing.

This drawing depicts the applicable departure surfaces as defined in Appendix 2 of FAA AC 150/5300-13.  The surfaces are shown for runway end(s) designated primarily for instrument departures.  The one-engine inoperative (OEI) obstacle identification surface (OIS) should be shown for departure runway end(s) supporting air carrier operations.

Per AC 150/5070-6, an airport master plan is a comprehensive study of the airport and typically describes short-, medium-, and long-term plans for airport development. Master planning studies, that address major revisions are commonly referred to as “Master Plans,” while those that change only parts of the existing document and require a relatively low level of effort tend to be known as “Master Plan Updates.” In most cases, the master plan will include the following elements:

1) Pre-planning

2) Public Involvement

3) Environmental Considerations/Overview

4) Existing Conditions

5) Aviation Forecasts

6) Facility Requirements

7) Alternatives Development and Evaluation

8) Airport Layout Plans

9) Facilities Implementation Plan

10) Financial Feasibility Analysis

From AC 150/5070-6, Section 202: An accompanying ALP Narrative Report should explain and document those changes and contain at least the following elements:

1) Basic aeronautical forecasts.

2) Basis for the proposed items of development.

3) Rationale for unusual design features and/or modifications to FAA Airport Design Standards.

4) Summary of the various stages of airport development and layout sketches of the major items of development in each stage.

5) An environmental overview to document environmental conditions that should be considered in the identification and analysis of airport development alternatives and proposed projects

Forecasts of future levels of aviation activity... These projections are used to determine the need for new or expanded facilities.  See AC 150/5070-6, Chapter 7.

See AC 150/5070-6, Chapter 7, Section 702.b.

Aircraft operations performed by aircraft that are based at the airport and that operate in the local traffic pattern or within sight of the airport, that are known to be departing for or arriving from flights in local practice areas within a prescribed distance from the airport, or that execute simulated instrument approaches at the airport.  See AC 150/5070-6, Chapter 7, Section 702.a. and Figure 7-2.

Operations by aircraft that leaves the local airspace, generally 25 miles or more from the airport.  See AC 150/5070-6, Chapter 7, Section 702.a. and Figure 7-2.

The most demanding aircraft identified in the forecast that will use the airport. Federally funded projects require that critical design airplanes have at least 500 or more annual itinerant operations at the airport (landings and takeoffs are considered as separate operations) for an individual airplane or a family grouping of airplanes. See AC 150/5325-4, 102.a.(8) and AC 150/5070-6, 702.a. and Figure 7-2.

The most demanding aircraft identified in the forecast that will use the airport. Federally funded projects require that critical design airplanes have at least 500 or more annual itinerant operations at the airport (landings and takeoffs are considered as separate operations) for an individual airplane or a family grouping of airplanes. See AC 150/5325-4, 102.a.(8) and AC 150/5070-6, 702.a. and Figure 7-2.

Aircraft that use a specific airport as a home base, i.e. have hangar or tie-down space agreements.  See AC 150/5070-6, Chapter 7, Section 702.a. and Figure 7-2.

Number of instrument approaches expected to be executed during a 12 month period.  See AC 150/5070-6, Chapter 7, Section 702.a. and Figure 7-2.

See AC 150/5070-6, Chapter 7, Section 702.a. and Figure 7-2.

The most demanding aircraft identified in the forecast that will use the airport. Federally funded projects require that critical design airplanes have at least 500 or more annual itinerant operations at the airport (landings and takeoffs are considered as separate operations) for an individual airplane or a family grouping of airplanes. See AC 150/5325-4, 102.a.(8) and AC 150/5070-6, 702.a. and Figure 7-2.

The most demanding aircraft identified in the forecast that will use the airport. Federally funded projects require that critical design airplanes have at least 500 or more annual itinerant operations at the airport (landings and takeoffs are considered as separate operations) for an individual airplane or a family grouping of airplanes. See AC 150/5325-4, 102.a.(8) and AC 150/5070-6, 702.a. and Figure 7-2.

Capital Improvement Plan for the forecast horizons.  See AC 150/5070-6, Chpater 11.

Affected private and/or governmental groups, agencies, commissions, etc. that may have input on the plans.  See AC 150/5070-6, Chpater 3.

The minimum size for the final drawing set is 22” X 34” (ANSI D).  24” X 36” (ARCH D), 34” x 44” (ANSI E), and 26” X 48” (ARCH E) sizes also acceptable.  Color drawings may be acceptable if they are still usable if reproduced in grey scale.

Use scale that allows the extents of the airport to best fit the chosen sheet size, e.g. typical single runway GA airports may be able to use 1”=200’ scale on a 22” X 34” sheet but a complex hub airport with multiple runways may require a 1”=600’ scale on a 36” X 48” sheet.  Contact the FAA if an airport layout requires scaling or sheet sizing other than what is listed.

Magnetic declination may be calculated at http://www.ngdc.noaa.gov/geomagmodels/Declination.jsp

This model is using the latest World Magnetic Model which has an Epoch Year of 2010.  See FAA Order 8260.19, "Flight Procedures and Airspace." Chapter 2, Section 5, for further information.

All Latitude/Longitude coordinates shall be in North American Datum of 1983 (NAD 83).  A note shall be put on the Airport Layout Drawing that denotes that the NAD 83 coordinate system was used.

All elevations shall be in North American Vertical Datum of 1988 (NAVD 88).  A note shall be put on the Airport Layout Drawing that denotes that the NAVD 88 vertical control datum was used.

Assembly and analysis of wind data to determine ultimate runway orientation and also provides the operational impact of winds on existing runways.  If instrument procedures are present or will be requested then both visual and instrument meteorological conditions wind roses are required. See AC 150/5300-13, Appendix 1.

Wind data may be obtained from NOAA at http://www.ncdc.noaa.gov/

Data must be from the latest 10 year period from the reporting station closest to the airport.

When a runway orientation provides less than 95 percent wind coverage for any aircraft forecasted to use the airport on a regular basis, a crosswind runway is recommended.  The 95 percent wind coverage is computed on the basis of the crosswind not exceeding 10.5 knots for Airport Reference Codes A-I and B-I, 13 knots for Airport Reference Codes A-II and B-II, 16 knots for Airport Reference Codes A-III, B-III, and C-I through D-III, and 20 knots for Airport Reference Codes A-IV through D-VI.  See also AC 150/5300-13, Chapter 2, Section 203.b. and AC 150/5300-13, Appendix 1.

When a runway orientation provides less than 95 percent wind coverage for any aircraft forecasted to use the airport on a regular basis, a crosswind runway is recommended.  The 95 percent wind coverage is computed on the basis of the crosswind not exceeding 10.5 knots for Airport Reference Codes A-I and B-I, 13 knots for Airport Reference Codes A-II and B-II, 16 knots for Airport Reference Codes A-III, B-III, and C-I through D-III, and 20 knots for Airport Reference Codes A-IV through D-VI.  See also AC 150/5300-13, Chapter 2, Section 203.b. and AC 150/5300-13, Appendix 1.

When a runway orientation provides less than 95 percent wind coverage for any aircraft forecasted to use the airport on a regular basis, a crosswind runway is recommended.  The 95 percent wind coverage is computed on the basis of the crosswind not exceeding 10.5 knots for Airport Reference Codes A-I and B-I, 13 knots for Airport Reference Codes A-II and B-II, 16 knots for Airport Reference Codes A-III, B-III, and C-I through D-III, and 20 knots for Airport Reference Codes A-IV through D-VI.  See also AC 150/5300-13, Chapter 2, Section 203.b. and AC 150/5300-13, Appendix 1.

When a runway orientation provides less than 95 percent wind coverage for any aircraft forecasted to use the airport on a regular basis, a crosswind runway is recommended.  The 95 percent wind coverage is computed on the basis of the crosswind not exceeding 10.5 knots for Airport Reference Codes A-I and B-I, 13 knots for Airport Reference Codes A-II and B-II, 16 knots for Airport Reference Codes A-III, B-III, and C-I through D-III, and 20 knots for Airport Reference Codes A-IV through D-VI.  See also AC 150/5300-13, Chapter 2, Section 203.b. and AC 150/5300-13, Appendix 1.

The airport reference point (ARP) geographically locates the airport horizontally.  See AC 150/5300-13, Appendix 3.

Topography, budget, and future uses of the base mapping, will dictate what intervals of topographical contours to use on the maps.  Topographic issues may be important in the alternatives analysis, which may require that reduced contour intervals be used.  See AC 150/5070-6, 1005.

To assure full consideration of future airport development in 14 CFR Part 77 studies, airport owners must have their plans on file with the FAA.  The necessary plan data includes, as a minimum, planned runway end coordinates, elevation, and type of approach for any new runway or runway extension.  See AC 150/5300-13, Chapter 1, 8.a.

Provide the pavement elevation of the runway pavement at any displaced threshold.  See AC 150/5300-13, Appendix 2.

Provide the pavement elevation of runway intersections where the centerlines cross.

For all runways identify high and low points (centerline) and provide elevation information.

Provide elevation information for the traverse ways’ centerline elevation where they intersect the Part 77 Approach surfaces (existing and ultimate).  Note whether this elevation is the actual elevation or the traverseway elevation plus the traverseway adjustment (23’ for railways, 17’ for interstate highways, 15’ for other public roads, or 10’ for private roads).  See also 14 CFR Part 77.

Provide elevation information for airport structures including buildings, equipment, signs, and poles in the parking apron areas.  This information may be provided on a separate Terminal Area Drawing.

Show the critical area outline for all Instrument Landing System and other electronic Navigational Aids located on the airport.  See AC 150/5300-13, Chapter 6 for general guidance and FAA Order 5750.16 for critical area dimensions.

The Building Restriction Line (BRL) identifies suitable building area locations on airports.  This should be located where the Part 77 surfaces are at 35’ above the airport elevation unless a different height is coordinated with the FAA.

35’ above the airport elevation unless a different height is coordinated with the FAA.  See AC 150/5300-13, 201.a.(2)(c).

Show the airport property boundaries, including easements, for the existing and ultimate airport configurations.  See AC 150/5300-13, 201.a.

Show the location of all section corners on or near the airport property.

Show the location of all established survey monuments located on or near the airport property.  Identify  Primary and Secondary Airport Control Stations (PACS/SACS) if they exist.  See AC 150/5300-16.

Show the Runway Visibility Zone(s) for the existing and ultimate airport configurations.  See AC 150/5300-13, 503.

Dimensions determined for the Critical Design Aircraft by using graphical information in AC 150/5325-4.  DO NOT USE Airport Design v.4.2D PROGRAM TO DETERMINE RUNWAY DIMENSIONS.

Clearly denote the runway numbers at the thresholds.

Show the true bearing to the nearest .01 of a degree of the runway centerline.

Show on the runway the type and location of markings, existing and ultimate.  See AC 150/5340-1, Section 2.

Show the latitude and longitude of the threshold center and end of pavement (if different) to the nearest .01 of a second.

Show location of existing and future threshold lights.

Show any/all clearways and stopways/overruns and the markings used to denote these areas.  See AC 150/5300-13, 308. and 309; and AC 150/5340-1, Section 2, Paragraph 14.

Show the extents of the existing and ultimate Runway Safety Area (RSA), Object Free Area (OFA), Obstacle Free Zone (OFZ), Precision Obstacle Free Zone (POFZ), Threshold Siting Surface (TSS), Crop Restriction Line (CRL).  See AC 150/5300-13, Chapters 2 and 3 and Appendices 2 and 8.

Dimensions determined for the Critical Design Aircraft.  See AC 150/5300-13, Chapter 4.

Show the distance from centerline of runway to centerline of taxiway.  See AC 150/5300-13, Chapter 2.

Show the distance from centerline of taxiway to marked aircraft parking/tie downs.  See AC 150/5300-13, Chapter 2.

Show the distance from centerline of taxiway to airport objects such as buildings, facilities, poles, etc.  See AC 150/5300-13, Chapter 2.

Show existing and ultimate locations of hold position signage and markings.  See AC 150/5340-1, Sections 2 and 3 and Appendices 2 and 3.

Show the location of existing and ultimate apron.  Include dimensions of apron and distance from runway and taxiway centerlines.  Apron should be sized using activity forecast and the apron design spreadsheet.  See AC 150/5300-13, Appendix 5 and FAA Engineering Brief No. 75.

Show proposed tie-down layout on the apron area.  See AC 150/5300-13, Appendix 5,  AC 20-35, and AC 150/5340-1.

Show existing and ultimate Runway Protection Zone (RPZ).  See AC 150/5300-13, Chapters 2 and 3 and Appendix 8.

Show the existing and ultimate protective area/zone type of ownership.

Show the portion of the existing and ultimate approach surfaces that are over airport and adjacent property and identify the approach surface dimensions and slope.  See FAA Order 7400.2, Figure 6-3-9.

Each drawing in the Airport Layout Plan drawing set shall have a Title and Revision Block.  For drawings that have been updated, i.e., As-built, the revision block should show the current revision number and date of revision.

The following statement shall be on the drawing: “The preparation of this document may have been supported, in part, through the Airport Improvement Program financial assistance from the Federal Aviation Administration (Project Number ___) as provided under Title 49 U.S.C., Section 47104. The contents do not necessarily reflect the official views or policy of the FAA. Acceptance of this report by the FAA does not in any way constitute a commitment on the part of the United States to participate in any development depicted therein nor does it indicate that the proposed development is environmentally acceptable or would have justification in accordance with appropriate public laws.”  See FAA Order 5100.38, 425.b.(4).

Provide an approval block for the sponsoring authority’s representative to sign.  Include space for name, title, and date.  Leave a four inch by four inch area empty for the FAA approval sticker/stamp.

List the Airport Elevation, the highest point on an airport's usable runway expressed in feet above mean sea level (MSL).  Use NAVD 88 datum.  See AC 150/5300-13, Chapter 1, Section 2.

List the Airport Reference Point, the latitude and longitude of the approximate center of the airport.  Use the NAD 83 coordinate system.  See AC 150/5300-13, Appendix 3.

List the electronic aids available at the airport.

List the mean maximum temperature and the hottest month for the airport location as listed in “Monthly Station Normals of Temperature, Precipitation, and Heating and Cooling Degree-Days” (Climatography of the United States No.81).  See AC 150/5325-4, 506.b.

List the Airport Reference Code (ARC) for the airport and for each runway.  The ARC is a coding system used to relate airport design criteria to the operational and physical characteristics of the airplanes intended to operate at the airport.  See AC 150/5300-13, Chapter 1, Section 4.

List the existing and ultimate Critical Design Aircraft, the most demanding aircraft identified in the forecast that will use the airport.  Federally funded projects require that critical design airplanes have at least 500 or more annual itinerant operations at the airport (landings and takeoffs are considered as separate operations) for an individual airplane or a family grouping of airplanes. See AC 150/5325-4, 102.a.(8) and AC 150/5070-6, 702.a.

All buildings on the Airport Layout Drawing should be identified by an alphanumeric character.  List these identifiers in a table and give a description of the building.  If no Terminal Area drawing is done, also include the top of structure elevation in MSL.  If any of the structures violate any airport or approach surfaces give an ultimate disposition to remedy the violation.

Provide a Legend that identifies all symbols and linetypes used on the drawing.

The Runway Data Table should show information for both existing and ultimate runways.

The first component, depicted by a letter, is the aircraft approach category and relates to aircraft approach speed (operational characteristic).  The second component, depicted by a Roman numeral, is the airplane design group and relates to airplane wingspan or tailheight (physical characteristics), whichever is the most restrictive.  Generally, runways standards are related to aircraft approach speed, airplane wingspan, and designated or planned approach visibility minimums.  Taxiway and taxilane standards are related to airplane design group.  See AC 150/5300-13, Chapter 1.4.a.

Dimensions determined for the Critical Design Aircraft by using graphical information in AC 150/5325-4.  DO NOT USE Airport Design v.4.2D PROGRAM TO DETERMINE RUNWAY DIMENSIONS.

List the maximum longitudinal grade of each runway centerline.  See AC 150/5300-13, Chapter 5.

List the percent wind coverage for each runway for each Aircraft Approach Category.  See AC 150/5300-13, Appendix 1.

List the existing and ultimate type of runway lighting system for each runway, e.g., Reflectors, Low Intensity Runway Lighting (LIRL), Medium Intensity Runway Lighting (MIRL), or High Intensity Runway Lighting (HIRL). LIRLs will typically not be shown for new systems.  See AC 150/5340-30, Chapter 2.

Indicate the existing and ultimate pavement markings for each runway.  See AC 150/5340-1, Section 2.

Indicate the runway surface material type, e.g., turf, asphalt, concrete, water, etc.

List the existing and ultimate design strength of the landing surface. See AC 150/5320-6, Chapter 3.

List the existing and ultimate dimensions of the Runway Safety Area (RSA).  See AC 150/5300-13, Chapter 3, Section 305.

List the existing and ultimate dimensions of the Object Free Area (OSA).  See AC 150/5300-13, Chapter 3, Section 307.

List the existing and ultimate dimensions of the Obstacle Free Zone (OFZ).  See AC 150/5300-13, Chapter 3, Section 306.

List the existing and ultimate width of the taxiways.  See AC 150/5300-13, Chapter 4.

List the existing and ultimate type of taxiway lighting system, e.g., Reflectors, Low Intensity Taxiway Lighting (LITL), Medium Intensity Taxiway Lighting (MITL), or High Intensity Taxiway Lighting (HITL). LITLs will typically not be shown for new systems.  See AC 150/5340-30, Chapter 4.

List the existing and ultimate approach surface slope.  See FAA Order 7400.2, Figures 6-6-3 and 6-3-9.

List the existing and ultimate electronic navigational aids serving each runway.

List the existing and ultimate visual navigational aids serving each runway.

List the existing and ultimate visibility minimums for each runway.  See AC 150/5300-13, Appendix 16.

List the existing and ultimate Part 77 Approach Use Types.  See FAA Order 7400.2, Figures 6-6-3 and 6-3-9.

List the type of aeronautical survey required for the visibility minimums given.  See AC 150/5300-18, Section 2.7.

List the highest runway centerline elevation in the existing and ultimate first 3000 feet from threshold.  See FAA Order 8260.3, Appendix 1.

If Declared Distances are being used or proposed, list the runway length declared available and suitable for the ground run of an airplane taking off, i.e., Take Off Run Available (TORA) for the runway.  State “N/A” if Declared Distances are not used.  See AC 150/5300-13, Appendix 14.

If Declared Distances are being used or proposed, list the length of remaining runway or clearway (CWY) beyond the far end of the TORA ADDED TO the TORA.  The resulting sum is the Take Off Distance Available (TODA) for the runway.  State “N/A” if Declared Distances are not used.  See AC 150/5300-13, Appendix 14.

If Declared Distances are being used or proposed, list the length of the runway plus stopway (SWY) length declared available and suitable for the acceleration and  deceleration of an airplane aborting a takeoff, i.e. the Accelerate Stop Distance Available (ASDA).  State “N/A” if Declared Distances are not used.  See AC 150/5300-13, Appendix 14.

If Declared Distances are being used or proposed, list the length of the runway length declared available and suitable for a landing airplane, i.e. Landing Distance Available.  State “N/A” if Declared Distances are not used.  See AC 150/5300-13, Appendix 14.

Provide a table to list all FAA approved Modifications to Design Standards.  See AC 150/5300-13, Chapter 1, Section 5.

List “None Required” on the table if no Modifications have yet been proposed or approved.

Provide a table to list all penetrations to the Obstacle Free Zone (OFZ).  If none, state “No OFZ penetrations.”  See AC 150/5300-13, Chapter 3, Section 306.

Provide a table to list all penetrations to the Threshold Siting Surface (TSS).  If none, state “No TSS penetrations.”  See AC 150/5300-13, Appendix 2.

14 CFR Part 77, Objects Affecting Navigable Airspace, defines this as a drawing depicting obstacle identification surfaces for the full extent of all airport development. It should also depict airspace obstructions for the portions of the surfaces excluded from the Inner Portion of the Approach Surface Drawing.

Use the most current USGS Quadrangle(s) as a base map for the airspace drawing.

Show the ultimate runways and runway numbers.  Contact the FAA before renumbering existing runways.

Show the extents of the Part 77 imaginary surfaces.  For airports that have precision approach runways show balance of the 40,000’ approach on a second sheet.  See 14 CFR Part 77.25.

Show contour lines on the Part 77 imaginary surfaces.  See 14 CFR Part 77.25.

Use a drawing scale in the range of 1”=2000’-3000’.

Identify by unique alphanumeric symbol all objects beyond the Runway Protection Zones that penetrate any of the Part 77 surfaces.  See 14 CFR Part 77.

Depict the ground profile along the extended runway centerline representing the composite profile, based on the highest terrain across the width and along the length of the approach surface.

Identify all significant objects (roads, rivers, railroads, towers, poles, etc.) within the approach surfaces, regardless of whether or not they are obstructions.  Use the objects’ same alphanumeric identifier for the that was used on the plan view.

Identify the top elevations of all significant objects (roads, rivers, railroads, towers, poles, etc.) within the approach surfaces, regardless of whether or not they are obstructions.

Show existing and ultimate runway ends and FAR Part 77 approach surface slopes.  See 14 CFR Part 77.25.

List each object by the same alphanumeric symbol used in the plan view.

List the Above Ground Level (AGL) height and the top of object elevation in MSL for each object.

Provide a brief description of the object, e.g., “Power Pole,” “Cell Tower,” “Natural Gas Flare,” etc.

List the surface that is penetrated and the amount the object protrudes above the surface.  See 14 CFR Part 77.23 and See 14 CFR Part 77.25.

Provide a proposed disposition of the object to remedy the penetration.  See AC 70/7460-1.

Drawings containing the plan and profile view of the inner portion of the approach surface to the runway and a tabular listing of all surface penetrations.  The drawing will depict the obstacle identification approach surfaces contained in 14 CFR Part 77, Objects Affecting Navigable Airspace.  The drawing may also depict other surfaces, including the threshold-siting surface, Glideslope Qualification Surface (GQS), those surfaces associated with United States Standards for Instrument Procedures (TERPS), or those required by the local FAA office or state agency.  The extent of the approach surface and the number of airspace obstructions shown may restrict each sheet to only one runway end or approach.

Show the area from the runway threshold out to where the ultimate approach surface slope is 100 feet above the threshold elevation.  Use an aerial photograph for the base map.

Use a scale of 1” = 200’.  Contact the FAA if the scale does not allow the entire area to fit on a single sheet.

Show the property line(s) that are within the area/portion of airport shown.

Identify all significant objects (roads, rivers, railroads, towers, poles, etc.) within the approach surfaces, regardless of whether or not they are obstructions using an alphanumeric character.

Show the boundaries of the existing and ultimate Part 77 Approach Surface.  See FAA Order 7400.2, Figure 6-3-9, See also 14 CFR Part 77.

Provide elevation information for the traverse ways’ centerline elevation where they intersect the Part 77 Approach surfaces (existing and ultimate).  Note whether this elevation is the actual elevation or the traverse way elevation plus the traverse way adjustment (23’ for railways, 17’ for interstate highways, 15’ for other public roads, or 10’ for private roads).  See also 14 CFR Part 77.

Show the existing and ultimate runway end, runway number, and the elevation of the threshold center.

Show ground contour lines in 2’, 5’, or 10’ intervals.  Topographic issues may be important in the alternatives analysis, which may require that reduced contour intervals be used.  See AC 150/5070-6, 1005.

Show the extents of the existing and ultimate Runway Safety Area (RSA).  See AC 150/5300-13, Chapters 2 and 3 and Appendices 2 and 8.

Show the extents of the existing and ultimate Object Free Area (OFA).  See AC 150/5300-13, Chapters 2 and 3 and Appendices 2 and 8.

Show the extents of the existing and ultimate Runway Protection Zone (RPZ).  See AC 150/5300-13, Chapters 2 and 3 and Appendices 2 and 8.

Show the extents of the existing and ultimate Precision Obstacle Free Zone (POFZ).  See AC 150/5300-13, Chapters 2 and 3 and Appendices 2 and 8.

Use a horizontal scale of 1” = 200’and a vertical scale of 1” = 20’.  Contact the FAA if the scale does not allow the entire area to fit on a single sheet.

Depict the ground profile along the extended runway centerline representing the composite profile, based on the highest terrain across the width and along the length of the approach surface to where the ultimate approach surface slope is 100 feet above the threshold elevation.

Show all significant objects (roads, rivers, railroads, towers, poles, etc.) within the approach surfaces, regardless of whether or not they are obstructions.

Show the cross-section of any roads and/or railroads that cross the area shown.

Identify the objects using same alphanumeric identifier for the that was used on the plan view.

This may be shown on the Inner Portion of the Approach Surface drawing if there is space to show the runway and Runway Safety Area in sufficient detail otherwise a separate sheet may be necessary.  At a minimum this drawing is to show the full length of the runway and Runway Safety Area including: runway elevations, runway and Runway Safety Area gradients, all vertical curves, and a line representing the 5’ line-of-sight.  See AC 150/5300-13, Chapter 5.

The vertical scale of this drawing must be able to show the separation of the runway surface and the 5’ Line-of-Sight line. See AC 150/5300-13, 503.

Show runway elevations, runway and Runway Safety Area gradients, and all vertical curve data.  See AC 150/5300-13, Chapter 5.

A separate table for each runway end must be used to enhance information clarity.

List each object by the same alphanumeric symbol used in the plan view.

List the Above Ground Level (AGL) height and the top of object elevation in MSL for each object.

Provide a brief description of the object, e.g., “Power Pole,” “Cell Tower,” “Natural Gas Flare,” etc.

List the surface that is penetrated and the amount the object protrudes above the surface.  See 14 CFR Part 77.23; 14 CFR Part 77.25; and AC 150/5300-13, Chapters 2 and 3 and Appendices 2 and 8.

Provide a proposed disposition of the object to remedy the penetration.  See AC 70/7460-1 for Part 77 violations.  “Removal” and/or “Lower” should be listed for any Airports safety area/zone violations.

This plan consists of one or more drawings that present a large-scale depiction of areas with significant terminal facility development. Such a drawing is typically an enlargement of a portion of the ALP.  At a commercial service airport, the drawing would include the passenger terminal area, but might also include general aviation facilities and cargo facilities.  See AC 150/5300-13, Appendix 5.

Use scale that allows the extents of the terminal/FBO apron area to best fit the chosen sheet size, e.g. typical GA airports may be able to use 1”=50’ scale on a 22” X 34” sheet but a complex hub airport with multiple terminal areas may require a 1”=100’ scale on a 36” X 48” sheet.  Contact the FAA if an airport layout requires scaling or sheet sizing other than what is listed.

Show the property line(s) that are within the area/portion of airport shown.

Show the Building Restriction Line (BRL) that is within the area/portion of airport shown.  The BRL identifies suitable building area locations on airports.  This should be located where the Part 77 surfaces are at 35’ above the airport elevation unless a different height is coordinated with the FAA.  See AC 150/5300-13, 201.a.(2)(c).

Show the location of existing and ultimate apron.  Include dimensions of apron and distance from runway and taxiway centerlines.  Apron should be sized using activity forecast and the apron design spreadsheet.  See AC 150/5300-13, Appendix 5 and FAA Engineering Brief No. 75.

Show proposed tie-down layout on the apron area as well as taxilane marking plan.  See AC 150/5300-13, Appendix 5, AC 20-35, and AC 150/5340-1.

Show the location of existing and ultimate hangars.  Include dimensions of apron and distance from runway and taxiway centerlines.  See AC 150/5300-13, Appendix 5.

Show the elevation of the highest point of each structure.

Provide a Legend that identifies all symbols and linetypes used on the drawing.

All buildings on the Terminal Area Drawing should be identified by an alphanumeric character.  List these identifiers in a table and give a description of the building and the top of structure elevation in MSL.  If any of the structures violate any airport or approach surfaces give an ultimate disposition to remedy the violation.

Show the existing and ultimate auto parking areas.  See AC 150/5300-13, Appendix 5.

Show the existing and ultimate entrance road.  See AC 150/5300-13, Appendix 5 and FAA Order 5100.38, Chapter 6, Section 2.

Show the dimensions between existing and ultimate runway, taxiway, and taxilane centerlines and existing and ultimate hangars, buildings, aircraft parking, and other objects.  See AC 150/5300-13, Chapter 2 and Appendix 5.

A drawing depicting on- and off-airport land uses and zoning in the area around the airport.  At a minimum, the drawing must contain land within the 65 DNL noise contour.  For medium or high activity commercial service airports, where noise issues are important, on-airport land use and off-airport land use may be on separate drawings.  The Airport Layout Drawing should be used as a base map.

Provide a Legend that identifies all symbols and linetypes used on the drawing.

Label existing and ultimate on-airport property by usage, e.g., “Terminal Area,” “Air Cargo,” “Public Ramp,” “Airfield - Movement,” “Airfield – Non-movement,” etc.  Include existing and future airport features (i.e., runways, taxiways, aprons, safety areas/zones, terminal buildings and navigational aids.

Label existing and ultimate off-airport property by usage and zoning, e.g., “Agricultural,” “Industrial,” “Residential,” “Commercial,” etc.

Identify public facilities e.g., schools, parks, etc.

Show the Crop Restriction Line (CRL).  See AC 150/5300-13, Appendix 17 and AC 150/5200-33.

Show the existing and ultimate property lines.  If known, show property lines for parcels surrounding the airport.

List any local zoning restrictions that are in place to protect the airport and surrounding airspace.  See AC 150/5190-4.

A drawing depicting the airport property boundary, the various tracts of land that were acquired to develop the airport, and the method of acquisition.  This drawing is only required for those airports that have acquired land with Federal funds or through an FAA-administered land transfer program; however, it may be useful to all airport sponsors.  If any obligations were incurred as a result of obtaining property, or an interest therein, they should be noted.  Obligations that stem from Federal grant or an FAA-administered land transfer program, such as surplus property programs, should also be noted.  The drawing should also depict easements beyond the airport boundary.   An airport property map is not a substitute for an Exhibit A unless it is prepared in accordance with AC 150/5100-17, Land Acquisition and Relocation Assistance for Airport Improvement Program Assisted Projects.

Provide a Legend that identifies all symbols and linetypes used on the drawing.

Show existing and future airport features (i.e., runways, taxiways, aprons, safety areas/zones, terminal buildings and navigational aids, etc.)

Show the existing and ultimate boundaries of all land owned in fee by the airport.

Show boundaries of existing and ultimate land in which the airport has an easement interest.

Show the existing and ultimate tract/parcel boundaries of all land owned in fee by the airport and the existing and ultimate tract/parcel boundaries of all land in which the airport has an easement interest.  Identify each tract/parcel using an alphanumeric character.

List each tract by the same alphanumeric symbol used in the drawing.

List the date the property interest was acquired.

List the type of acquisition, e.g., surplus property, local purchase, condemnation, federal grant, etc.

If purchased using a federal grant (including FAAP, ADAP, AIP, etc.), list the grant number.

List whether the property is owned in fee or if just controlled through an easement.  Specify what type of easement (avigation, air, etc.).

List the size of the tract/parcel to the nearest 0.01 of an acre.

This drawing depicts the applicable departure surfaces as defined in Appendix 2 of FAA AC 150/5300-13. The surfaces are shown for runway end(s) designated primarily for instrument departures. The one-engine inoperative (OEI) obstacle identification surface (OIS) should be shown for departure runway end(s) supporting air carrier operations.

See AC 150/5300-13, Appendix 2.

See AC 150/5300-13, Appendix 2.

Use a horizontal scale of 1” = 1000’ for the 40:1 Departure Surface drawing and a scale of 1” = 2000’ for the One Engine Inoperable drawing.  Contact the FAA if the scale does not allow the entire area to fit on a single sheet.

Show the property line(s) that are within the area/portion of airport shown.

Identify all significant objects (roads, rivers, railroads, towers, poles, etc.) within the approach surfaces, regardless of whether or not they are obstructions using unique alphanumeric characters.

Show the existing and ultimate runway end, runway number, and the elevation of the threshold center.

Show ground contour lines in 2’, 5’, or 10’ intervals.  Topographic issues may be important in the alternatives analysis, which may require that reduced contour intervals be used.

Use a vertical scale of 1” = 100’ for both surfaces.  Contact the FAA if the scale does not allow the entire area to fit on a single sheet.

Depict the ground profile along the extended runway centerline representing the composite profile, based on the highest terrain across the width and along the length of the departure surface to extents of the surface dimensions.

Show all significant objects (roads, rivers, railroads, towers, poles, etc.) within the approach surfaces, regardless of whether or not they are obstructions using an alphanumeric character.

Identify the objects using same alphanumeric identifier for the that was used on the plan view.

Show the cross-section of any roads and/or railroads that cross the area shown.

A separate table for each runway end must be used to enhance information clarity.

List each object by the same alphanumeric symbol used in the plan view.

Provide a brief description of the object, e.g., “Power Pole,” “Cell Tower,” “Tree,” “Natural Gas Flare,” etc.

List the Above Ground Level (AGL) height and the top of object elevation in MSL for each object.

List the object protrudes above the surface.  See AC 150/5300-13, Appendix 2.

Provide a proposed disposition of the object to remedy the penetration.  See AC 150/5300-13, Appendix 2.