## SUMMATION
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 | [5 empty] | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [5 empty] | NO DESIGN | PRELIMINARY
[11 empty] | C3673 | [5 empty] | COMPLETED | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
Print | [15 empty] | X | FINAL | OTHER
Sign | [6 empty] | x |  |  | 100 | [6 empty] | DESIGN | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT | TOTAL |  | TOTAL
|  |  |  | DIVISION 0-SPECIAL SECTIONS | [14 empty] | 400
|  |  |  | DIVISION 1-GENERAL REQUIREMENTS | [14 empty] | 32490
|  |  |  | DIVISION 2-EXISTING CONDITIONS | [14 empty] | 4500
|  |  |  | DIVISION 3-CONCRETE | [14 empty] | 0
|  |  |  | DIVISION 4-MASONRY | [14 empty] | 180
|  |  |  | DIVISION 5-METALS | [14 empty] | 100
|  |  |  | DIVISION 6-WOOD AND PLASTIC | [14 empty] | 330
|  |  |  | DIVISION 7-THERMAL AND MOISTURE PROTECTION | [14 empty] | 300
|  |  |  | DIVISION 8-DOORS AND WINDOWS | [14 empty] | 354
|  |  |  | DIVISION 9-FINISHES | [14 empty] | 1452
|  |  |  | DIVISION 10-SPECIALTIES | [14 empty] | 650
|  |  |  | DIVISION 11-EQUIPMENT | [14 empty] | 250
|  |  |  | DIVISION 12-FURNISHINGS | [14 empty] | 330
|  |  |  | DIVISION 13-SPECIAL CONSTRUCTION | [14 empty] | 0
|  |  |  | DIVISION 14-CONVEYING EQUIPMENT | [14 empty] | 0
|  |  |  | DIVISION 21-FIRE SUPPRESSION | [14 empty] | 0
|  |  |  | DIVISION 22-PLUMBING | [14 empty] | 0
|  |  |  | DIVISION 23-HEAT, VENTILATING, AND AIR CONDITIONING | [14 empty] | 0
|  |  |  | DIVISION 26-ELECTRICAL | [14 empty] | 0
|  |  |  | DIVISION 27-COMMUNICATIONS | [14 empty] | 0
|  |  |  | DIVISION 28-ELECTRONIC SAFETY AND SECURITY | [14 empty] | 0
|  |  |  | DIVISION 31-EARTHWORK | [14 empty] | 0
|  |  |  | DIVISION 32-EXTERIOR IMPROVEMENTS | [14 empty] | 0
|  |  |  | DIVISION 33-UTILITIES | [14 empty] | 0
|  |  |  | DIVISION 34-TRANSPORTATION | [14 empty] | 0
[8 empty] | SUB-TOTAL | [10 empty] | 41336
[8 empty] | OVERHEAD (10%) | [10 empty] | 4133.6
[8 empty] | PROFIT (10%) | [10 empty] | 413.36
[8 empty] | BONDS (3%) | [10 empty] | 12.4008
[8 empty] | TOTAL: | [10 empty] | 45895.3608
VA FORM 10-6238

## Div 0 Special Sections
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | 2 | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [5 empty] | x | NO DESIGN |  |  | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  |  | TOTAL
Division 0 Special Sections
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  |  | 0
[9 empty] | 2 | Hr | 200 | 400 | [5 empty] | 0 |  |  |  | 400
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
|  |  |  | SECTION TOTAL: | [17 empty] | 400
VA FORM 10-6238

## Div 1 General Requirements
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | 3 | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [5 empty] | x | NO DESIGN |  |  | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  |  | TOTAL
Divison 1 General Requirements
[18 empty] | 0 |  |  |  | 0
|  |  |  | Patch and Paint Walls |  |  |  |  | 40 | HR | 55 | 2200 | 600 | SF | 1 |  |  | 600 |  |  |  | 2800
|  |  |  | Walls for additional Lead |  |  |  |  | 80 | HR | 55 | 4400 | 2000 | SF | 1 |  |  | 2000 |  |  |  | 6400
|  |  |  | Doors and frames for additional lead |  |  |  |  | 40 | HR | 55 | 2200 | 1 | SF | 2000 |  |  | 2000 |  |  |  | 4200
|  |  |  | Lead wall |  |  |  |  | 80 | HR | 55 | 4400 | 500 | SF | 4 |  |  | 2000 |  |  |  | 6400
|  |  |  | Flooring |  |  |  |  | 24 | HR | 55 | 1320 | 450 | SF | 2.5 |  |  | 1125 |  |  |  | 2445
|  |  |  | Ceiling |  |  |  |  | 24 | HR | 55 | 1320 | 450 | SF | 8.5 |  |  | 3825 |  |  |  | 5145
|  |  |  | Paint |  |  |  |  | 60 | HR | 55 | 3300 | 1200 | SF | 1.5 |  |  | 1800 |  |  |  | 5100
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
|  |  |  | SECTION TOTAL: | [17 empty] | 32490
VA FORM 10-6238

## Div 2 Existing Conditions
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [5 empty] | x | NO DESIGN |  | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 2 Existing Conditions
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | Remove existing Equipment |  |  |  |  | 32 | Hr | 50 | 1600 | [5 empty] | 0 |  |  | 1600
|  |  |  | Remove Lighting |  |  |  |  | 8 | Hr | 50 | 400 | [5 empty] | 0 |  |  | 400
|  |  |  | Remove Ceiling |  |  |  |  | 20 | Hr | 50 | 1000 | [5 empty] | 0 |  |  | 1000
|  |  |  | Remove Flooring |  |  |  |  | 20 | Hr | 50 | 1000 | [5 empty] | 0 |  |  | 1000
|  |  |  | Dumpster | [7 empty] | 0 | 1 | ea | 500 |  |  | 500 |  |  | 500
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 4500
VA FORM 10-6238

## Div 3 Concrete
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [5 empty] | x | NO DESIGN |  | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 3 Concrete
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 |  | ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 0
VA FORM 10-6238

## Div 4 Masonry
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [5 empty] | x | NO DESIGN |  | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 4 Masonry
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | 6 | ea | 30 |  |  | 180 |  |  | 180
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 180
VA FORM 10-6238

## Div 5 Metals
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [5 empty] | x | NO DESIGN |  | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 5 Metals
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[9 empty] | 2 | Hr | 50 | 100 | [5 empty] | 0 |  |  | 100
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 |  | ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 100
VA FORM 10-6238

## Div 6 Wood & Plastic
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [5 empty] | x | NO DESIGN |  | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 6 Wood & Plastic
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[9 empty] | 10 | Hr | 33 | 330 | [5 empty] | 0 |  |  | 330
[12 empty] | 0 |  | ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 330
VA FORM 10-6238

## Div 7 Thermal & Moisture Protec
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 7 Thermal & Moisture Protection
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[9 empty] | 4 | Hr | 75 | 300 |  | Ea |  |  |  | 0 |  |  | 300
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 300
VA FORM 10-6238

## Div 8 Doors & Windows
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 8 Doors & Windows
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[9 empty] | 6 | Hr | 59 | 354 |  | Ea |  |  |  | 0 |  |  | 354
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 354
VA FORM 10-6238

## Div 9 Finishes
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 9 Finishes
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[9 empty] | 33 | Hr | 44 | 1452 |  | Ea |  |  |  | 0 |  |  | 1452
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 1452
VA FORM 10-6238

## Div 10 Specialties
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 10 Specialties
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[9 empty] | 10 | Hr | 65 | 650 |  | Ea |  |  |  | 0 |  |  | 650
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 650
VA FORM 10-6238

## Div 11 Equipment
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 11 Equipment
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[9 empty] | 5 | Hr | 50 | 250 |  | Ea |  |  |  | 0 |  |  | 250
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 250
VA FORM 10-6238

## Div 12 Furnishings
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | 0 | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 12 Furnishings
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  |  | 0
[10 empty] | Hr |  | 0 | 55 | Ea | 6 |  |  | 330 |  |  |  | 330
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  |  | 0
|  |  |  | SECTION TOTAL: | [17 empty] | 330
VA FORM 10-6238

## Div 13 Special Construction
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 13 Special Construction
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 0
VA FORM 10-6238

## Division 14 Conveying Equipment
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 14 Conveying Equipment
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 0
VA FORM 10-6238

## Div 21 Fire Suppression
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 21 Fire Suppression
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 0
VA FORM 10-6238

## Div 22 Plumbing
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 22 Plumbing
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 0
VA FORM 10-6238

## Div 23 HVAC
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 23 Heat, Ventilating, and Air Conditioning
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 0
VA FORM 10-6238

## Div 26 Electrical
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 26 Electrical
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 0
VA FORM 10-6238

## Div 27 Communications
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 27 Communications
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 0
VA FORM 10-6238

## Div 28 Electronic Safety & Secu
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 28 Electronic Safety & Security
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 0
VA FORM 10-6238

## Div 31 Earthwork
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 31 Earthwork
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[10 empty] | Hr |  | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 0
VA FORM 10-6238

## Div 32 Exterior Improvements
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 32 Exterior Improvements
[10 empty] | Hr |  | 0 |  | LF |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | LS |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 0
VA FORM 10-6238

## Div 33 Utilities
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 33 Utilities
[10 empty] | Hr |  | 0 |  | LF |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | LS |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 0
VA FORM 10-6238

## Div 34 Transportation
DATE
| CONSTRUCTION PROGRAM - ESTIMATE WORKSHEET | [11 empty] | 2008-07-01 |  |  | SHEET NO. |  |  | OF |  | SHEETS
PROJECT NO. |  |  |  |  | LOCATION | [5 empty] | PROJECT NAME |  |  |  |  | TYPE OF ESTIMATE
| PO # |  |  |  | V.A. MEDICAL CENTER | [5 empty] | 64 Slice CT Scanner | [6 empty] | NO DESIGN | X | PRELIMINARY
[11 empty] | C3673 | [6 empty] | COMPLETED |  | DESIGN
ESTIMATOR | [5 empty] | NEW | ALT | INDEX NO. | BUILDING NO(S) |  |  |  | DRAWING NO.
[18 empty] | FINAL |  | OTHER
| Sign | [5 empty] | X |  |  | 100 | [7 empty] | DESIGN |  | (SPECIFY)
| CODE |  |  |  | SYSTEM/SUBSYSTEM |  |  |  | LABOR |  |  |  | MATERIALS
A | B | C | D | [5 empty] | QUANTITY | UNIT | $/UNIT | TOTAL | QUANTITY | UNIT | $/UNIT |  | TOTAL |  |  | TOTAL
Division 34 Transportation
[10 empty] | Hr |  | 0 |  | LF |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | LS |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[10 empty] | Hr |  | 0 |  | Ea |  |  |  | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
[12 empty] | 0 | [5 empty] | 0 |  |  | 0
|  |  |  | SECTION TOTAL: | [16 empty] | 0
VA FORM 10-6238